Adjustable Power Supply: SE-2500-12

Product Specifications:

- Input: voltage 220V AC, Current 13 A.

- Working frequency: 50/60Hz

- Power: 2500W

- Output voltage : 0 - 12V  DC

- Output current: 0 - 208 A

- Natural air-cooled

- LED power indicator

- 100% full of aging

- All use 105 °C electrolytic capacitor

- Safety Compliance: CCC / FCC / CE

- Working Temperature: -10 ~ 60 ℃

- Storage Temperature: -20 ~ 65 ℃

- Ambient Humidity: 20 ~ 90% RH

- Product size: 280*180*65mm

- Shell material: metal shell, aluminum base

Features:

- Widely used in LED lights, industrial automation, LED display, communication, etc.

- Protection: short circuit protection, overload protection, over voltage protection.

- Low heat, energy saving, super safe, environmentally friendly, long service life.

- Not waterproof: suitable for indoor use; or add waterproof case for outdoor use.

- Orders usually ship within 24 hours after payment is received.

Control:

- Support 0-5V (0-10V) analog signal control output voltage (linear rise)

- Support 0-5V (0-10V) analog signal control output current (5%~100%)

- Support adjustable resistor to control output voltage

- Support adjustable resistor to control output current

- Support ON/OFF remote switch machine

- Support N+1 function

- Professional installation of qualified electrician is highly