Modbus RS 485 Network

Delta PLC 1

Pressur Sensor   Condenser   Atmospheric   Condenser    Cooling

Valve             Valve          Pump         Pump

Exhaust fan   Supply fan   Fuel burner

Water pump   Level control

RPM Sensor    Turbine Valve

Turbine governing system

Boiler Pressure control

Boiler level Control

Incinerator Power Control

Electro filter