## Slide 1: Environmental Impact Assessment for an academic mobile municipal waste incinerator
Abdullah Mourad, B.Sc in Chemistry

## Slide 2: Content
Waste to Energy
The cycle of a thermal power plant
Our mobile waste to energy power plant
What is an enviromental impact assesment (EIA)
The enviromental reqquirements
What needs to be considered in our case
The maximum allowed concentrations
The removal of the NOx gazes
The treatment of the furane and the dioxine
Acid gases treatment
Treatment of dust
Measurement
The ashes recycling
The mobile power plant
Additional condition in lebanese law
Overview of all suitable places for waste incinerators in North Lebanon
The different locations in which the power plant was
With contribution of

## Slide 4: The cycle in a thermal power plant

## Slide 5: Our mobile waste to energy power plant

## Slide 6
a big challenge is the enviroment impact assessment and that is why this is the main topic of the presentation.

## Slide 7: What is an enviromental impact assesment
Environmental Impact Assessment (EIA) is a process of evaluating the likely environmental impacts of a proposed project or development, taking into account inter-related socio-economic, cultural and human-health impacts, both beneficial and adverse.

## Slide 9: What needs to be considered in our case

## Slide 10: The maximum allowed concentrations

## Slide 11: The removal of the NOx gazes

## Slide 12: The treatment of the furan and dioxine

## Slide 13: On-site realization

## Slide 14: On-site realization
Cyclone I Electrofilter

## Slide 15: Mesurement
to make sure that the allowed concentrations are not exceeded, measurement techniques have to be applied:
laser absorption and
the filter weight measurement

## Slide 16: On-site realization
laser absorption

## Slide 17: The filter weight measurement
Mass of filter before treatment =1300 g
mass after treatment =1364 the total mass of particulate =1364-1300=64 g
375 m³/h correspond to 64 g
Thus 170 mg / m³ <200 mg/ m³ confirm to Lebanese standard (annex D) positive results

## Slide 18
Color of media before treatment
Filter media after treatment

## Slide 19: The ashes recycling
Realization

## Slide 20: The mobile powerplant

## Slide 21: Additional condition in lebanese law
Constrain is according to lebanes law that the incenerator has to be at least 1 km distance to any public building or private house .

## Slide 22: Overview of all suitable places for waste incinerators in North Lebanon

## Slide 23: The different locations in which the mobile power plant was
Rasn hach
Rayhaniye Camp
Beqaa Sefrin
Masjid El Salam – El Mina

## Slide 24: With contribution of :
Hiyam Elkurdi (cand. M.Sc. Environmental Science and Spatial Planing
the suitable places for waste incinerators in North Lebanon
Abdullah Kassem (M.Sc in Electrical Physics )
The rocess control system
Jihad Bachir (Mechanical engineer )
Test engineer and designer
Maysaa Kamareddine (M.Sc in physique energetique)
the filter systeme
Mariam Mourad (M.Sc in fundamental physics)
the laser absorbtion mesurement of the polluent gases
Ali Dib (B.Sc in physics)
On-site director